*PRS Remediation Site Visit Form*

|  |  |  |  |
| --- | --- | --- | --- |
| **Facility:** | Clay Center Service |  | **Type:** SPARC |
| **Address:** | 305 N. Center St. | **City:** | Clay Center |
| **NDEE ID:** | 5871 | **Program:** LST **#**AP3790 |  |
| **Consultant:** | Panhandle |  |  |
| **Latitude:** | 40⁰31’26.35”N |  | **Longitude:**98⁰03’06.80”W |  |
| **Visited by:** | Michael Ponte | **Site Visit Date:** | June 23, 2022 |

 ***Petroleum Remediation Section***

|  |
| --- |
| **Monitor Wells** |
| All monitor wells searched for were found to be in satisfactory condition except as noted below: |
| **Well #** | **Condition / Comments:** |
| SVE-1 | 2 bolts missing from manhole cover |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

|  |
| --- |
| **Recovery System** |
| Recovery System type: None \_\_\_ SVE \_X\_ AS \_ \_ Dual Phase \_\_\_ Other: |
| Recovery Structure: Trailer (plate #) \_X\_ Building \_\_\_ Other: plate not displayed |
| Recovery Structure condition: Good \_X\_ Other: |
| Recovery System is running: Yes \_X\_ Other: |
| Recovery System comments / observations: |
|  |
|  |

|  |
| --- |
| **Other Comments / Notes / Observations** |
|  |
|  |
|  |
|  |
|  |

|  |  |
| --- | --- |
| **PRS PM Initials:** | **Date: June 28, 2022** |